## Slide 1: Listmode2sinogram
Objective is to transfer (crystal-based) listmode
to (BLK-based) sinogram

## Slide 2: SIMSET generated 5D TOF –sinogram: TOF-bins are mixed up
Rebin to 273 ps TOF bin
Forward Projection
UIH-simu
-3
0
+3
+7
-7
Based on scatter phantom

## Slide 3: TOF-bins are mixed up

## Slide 4: Reason: LUT does not include TOF infomation
getDefaultSinogramCrystalPairs: 2D (77*60)

## Slide 5: LOR Direction (4 Cases: 1st and 2nd )
x
y
Always from A to B
x_A
x_B
x_A>x_B: A→B
x
y
x_A
x_B
A→B
x_A<x_B: swap A and B
820 | Z1 | 400 | Z2 | T
For a typical LM event:
820 | Z1 | 400 | Z2 | T
450 | Z1 | 220 | Z2 | T
220 | Z2 | 450 | Z1 | -T
A
B
A’
B’
x_A=x_B and y_A>y_B: A→B
x_A
x_B
y
Z
y_A
y_B
100 | Z1 | 740 | Z2 | T
100 | Z1 | 740 | Z2 | T

## Slide 6: LOR Direction (4 Cases: 3rd and 4th )
Always from A to B
For a typical LM event:
x_A=x_B and y_A>y_B: A→B
y_A
y_B
100 | Z1 | 740 | Z2 | T
100 | Z1 | 740 | Z2 | T
x_A=x_B and y_A<y_B: swap A and B
740 | Z1 | 100 | Z2 | T
100 | Z2 | 740 | Z1 | -T
A
B
A’
B’
y_A
y_B
y
x

## Slide 7: Solution 1 (Swap BLK-LOR when Listmode do not match with LUT )
Using default xp (ID), and Swap BLK-LOR when Listmode do not match with LUT
For C or Matlab code see: https://github.com/xiezhaoheng/lm2blocksino5d.git
Or https://github.com/ucdavis-mipet/simset/tree/develop/data_processing
Convert_simset_listmode_2_5dsino_v2.m or lm2blocksino_5d
Recommend

## Slide 8: Solution 2 (rearrange the LOR direction and align with xp)
Using self-defined xp (ID):
Switch direction if not meet the coordinate condition (consistent with UIH’s definition)
Rebin data
For C or Matlab code see: https://github.com/xiezhaoheng/lm2blocksino5d.git
Convert_simset_listmode_2_5dsino_blk_direction_swap_v2.m

## Slide 9: Bug fixed

## Slide 10: Sanity check: 2-line source (TOP one-49th direct plane)
Top view
CT
PET
ring 1
PET
ring 8
PET
ring 4
…
…
0~π
π~2π
TOF bins

## Slide 11: Sanity check
Top view
CT
PET
ring 1
PET
ring 8
PET
ring 4
…
…
Oblique 48-49

## Slide 12: Sanity check
Top view
CT
PET
ring 1
PET
ring 8
PET
ring 4
…
…